Fixed-mount Optical splice box/optical patch panel with up to 96 fibers

Features

The 1U fixed splice box/optical patch panel defines new standards for professional fiber optic distribution. With up to 96 fibers in just one rack unit, it offers the highest port density on the market for space-critical applications in data centers, telecommunications infrastructure and enterprise networks.

Modular design, with 4slot, each slot accommodates 24core LC/12core SC

Up to 96 fibers in just 1U (44mm) – record port density

Permanently mounted construction for lasting stability

47% more capacity than conventional 1U solutions

Front-access design for maintenance-friendly installation

LC, SC, E2000 and MPO/MTP connector variants available

Pull-out cassettes with precise fiber guidance

19″ rack-compatible with standard fasteners

Suitable for G.657.A1/A2, G.652, OM1/OM2/OM3/OM4/OM5 multimode etc fiber

Main parameters:

Max capacity: 96core LC/48core SC

Size: 482*220*44mm

Weight: 2.6kgs

Slot: 4

Thickness: 1.3mm

Material: cold-rolled sheet

Color: Black, other colors available